## Instructions
Instructions for using the risk assessment Template
Note
1 | This Template should be saved as a master document for your site
2 | The template is very similar to the sheets used at Foxlease and Waddow.
3 | Sections of the file are protected to prevent inadvertant changes being made. If you have any issues refer back to the H&S Manager
4 | The risk assessments can be batched into workbooks, so that all 'activities' will be in one workbook, 'maintenance' in another etc.
this will reduce the number of separate documents required, and make it simpler to manage.
5 | There are 35 sheets per workbook for you to use if you require. This allows all of your activity risk assessments to be placed in one excel workbook.
You do not have to do this and may wish to delete sheets to keep the file smaller, (it is easier to delete the sheets than add!)
especially with other categories for risk assessments (see note 18).
6 | The sheet has been set up so that it can be printed as an excel sheet, similar to a Word form, and can also be exported to PDF. To convert to PDF, go to 'File' and then
'Save and Send' and click on the 'Create PDF/XPS Document' button, whereby you will go to the next screen and click on the 'Create PDF/XPS' where a screen
will pop up requesting you to save it to a folder. (the practice of saving as a PDF should continue as it provides an excellent audit trail of when RA's have been carried out)
7 | RA sheets can be renamed (e.g. activity).
8 | The height of the rows are adjusted automatically as you enter data into each cell.
9 | The Risk Factor automatically updates when you enter the S & L data and changes color to indicate the level of risk, as defined in the Risk Matrix Sheet.
(Note that the Risk Matrix has been updated as the original did not provide the correct risk factor)
10 | RA Summary-Action Plan is an additional sheet(s) that can be used to plan work that needs to be carried out.
This is a tool that you may wish to use if you need to justify further action, or the H&S Manager may use
as part of his review of a risk assessment.
11 | The RA date will be linked to the Risk Assessment Dashboard which will highlight when a risk assessment is due to be reviewed (accessible by assessors)
12 | The Risk Assessment Dashboard (Separate document) provides an indication of the grouping of risk assessments
13 | The RA REF No. is a unique reference that you can cross reference within the document or with other documents.
14 | Assessment Reference Numbers - It is important to number risk assessments so that they can be refered to and monitored more easily.
15 | Formatting needs to be consistant to ensure that, where there are similarities between risk assessments, the referencing will be similar for each site,
whilst accepting that there may be a difference (in the risk assessment) between the sites for the same activities due to differences in equipment structure etc.
Referencing Format:
16 | Blacklands Farm will have a RA prefix of BF
Foxlease will have a RA prefix of FX
Waddow will have a RA prefix of WD
Trading will have a prefix of TR
Headquarters will have a prefix of HQ
Activites coding:
| Abseiling | ABS | Initiative Test | INT
| Archery | ARC | Ladder Challenge | LAD
| Ball Games | BAL | Low Ropes | LOR
| Basket Ball | BAS | Monkey Climb | MON
| Bush Craft | BUS | Mini Beasts | MIN
| Canoeing/Kayaking | CAK | Orienteering | ORI
| Canoeing | CAN | Outdoor Cooking | OUTC
| Kayaking | KAK | Parachute | PAR
| Circus Skills | CIR | Pioneering | PIO
| Climbing | CLI | Pond Dipping | PON
| Crate Challenge | CRA | Raft Building | RAB
| Fencing | FEN | Shelter Building | SHB
| Generic | GEN | Slacklining | SLA
| Geocaching | GEO | Swimming | SWI
| Giant Jenga | GJEN | Tunneling | TUN
| High Ropes | HIR | Zipwire | ZIP
An example of the referencing is on the first RA sheet in this file
Please note that these references (with a couple of minor changes) are in place at Foxlease, and are suitable, in most instances, going forward.
When carrying out other risk assessments you can leave these blank, until after completion and I will look at a suitable
reference for them at a later date, but if sites have their own ideas and its in a similar format, then please feel free to enter these, especially
Trading and HQ.
17 | Categories of Risk Assessments:
Activities
Activity Equipment
Maintenance Tasks
Plant and Machinery
Tools
Buildings and Grounds
Vehicles
Food Safety
Manual Handling
COSHH (different RA form required)
Work at Height (maintenance)
These catagories are the main ones that need concentrating on. Assessments such as The Fire RA, Asbestos, Legionella, have been carried out by contractors.
Separate forms will be provided for DSE assessments and COSHH.

## Risk Matrix
Risk Assessment Matrix
This matrix and risk score system helps determine priority for corrective action. This is only part of the consideration of a risk assessment, as the key elements of any risk assessment is 'what is already in place to reduce the risk' and 'what further control measures are required to reduce the risk to a level that complies with current health and safety legislation and good practice'
1. Consider what can go wrong
2. Determine what the worst case scenario would be - Severity
3. Determine how likely it is to happen - Likelihood
4. Calculate the Risk Level (Likelihood x Severity = RL)
The spread sheet will calculate the RL once you have put your S and L scores in.
Likelihood | 1 Rare | 2 Unlikely | 3 Possible | 4 Likely | 5 Almost Certain
Severity
5 = Catastrophic | 5 | 10 | 15 | 20 | 25
4 = Major | 4 | 8 | 12 | 16 | 20
3 = Moderate | 3 | 6 | 9 | 12 | 15
2 = Minor | 2 | 4 | 6 | 8 | 10
1 = Insignificant | 1 | 2 | 3 | 4 | 5
Action required:
Severity: | How severely could the hazard hurt someone/cause damage?
Catastrophic | death or a large number of serious injuries, environmental disaster, huge cost
Major | serious/extensive injuries, severe environmental damage, major cost
Moderate | medical treatment required, contained environmental impact, major cost
Minor | first aid treatment required, some environmental and/or financial impact
Insignificant | No injuries, low financial/environmental impact
Likelihood: | How likely is it to happen?
Almost certain | expected to occur in all circumstances
Likely | will probably occur in most circumstances
Possible | might possibly occur at some time
Unlikely | would seldom occur
Rare | may occur only in exceptional circumstances
Risk Score |  | What should I do?
20-25 | Extreme | Immediate action required
12-16 | High | Action plan required, senior management attention needed
6-10 | Moderate | Specific monitoring or procedures required, management action must be specified
1-5 | Low | Manage through routine procedures

## RA Summary-Action Plan 1
Risk Assessment Summary
Risk Assessment No. | Applicable Legislation:
Work Activity/Task:
Work Place:
Principle Risks :
Specific Risk
Action Required:
Immediate:
Short-term (28 days)
Medium-term (6 months)
Long-term (over 12 months)
Information, Instruction and training requirements (including Manufacturers/suppliers information):
Supervision Requirements
Date of Next review

## RA Summary-Action Plan 2
Risk Assessment Summary
Risk Assessment No. | Applicable Legislation:
Work Activity/Task:
Work Place:
Principle Risks :
Specific Risk
Action Required:
Immediate:
Short-term (28 days)
Medium-term (6 months)
Long-term (over 12 months)
Information, Instruction and training requirements (including Manufacturers/suppliers information):
Supervision Requirements
Date of Next review

## Village Hall Generic RA
Girlguiding Risk Assessment (VILLAGE HALL EXAMPLE)
Site: |  | Village Hall | Assessment No. | GG/VH/EX
Assessor |  | <Name of Responsible Person> | Description of Building or Area | Village Hall - brick built with wood cladding, comprising, main hall, two toilets, small office, Kitchen (with sink, gas cooker, electric hob, toaster, microwave). Gas boiler, with small calorifer, heating water and radiators. Cold water tanks serving toilets and sinks. office.
Date of Assessment
Task/Activity/Process/Equipment |  | Village Hall Generic Risk assessment
Technical Advisor (if applicable) |  | NA
Persons Name (If Applicable to vulnerable Groups etc.) |  | NA | Equipment used (if applicable) | Kitchen equipment, hoover, portable TV, PC in office, printer, laminator.
When Identifying HAZARDS consider:
a) The Task (Who, What, Where, When, How)
b) The environment (temperature, noise, lighting, dust, fumes)
c) Materials, Equipment, and Substances (machinery, tools, chemicals, etc.)
RA REF No. | Hazard | Description of potential accident/injury/loss | Persons affected | Precautions/Controls already in place | Risk Rating Factor=SxL |  |  | Further control measures required? | Action By Whom | To be completed by (Date)
[5 empty] | Severity | Likelihood | Factor
VH/EX/01 | Slips and trips | Staff and visitors may be injured if they trip over, uneven floors, objects or slip on spillages etc. | Visitors, Public Customers Contractors | 1) General good housekeeping is carried out. 2) All areas are well lit, including stairs. 3) Trailing leads or cables are moved or protected. 4) Staff keep work areas clear, e.g. no boxes left in walkways, deliveries stored immediately. 5) Staff mop up or report spillages. 6) Contract cleaners in on morning, following overnight events to clean up where appropriate. 7) Kitchen fridges cleared out and cleaned at the end of every month. 8) Offices have been refurbished and has up to date floorings and furniture. | 2 | 2 | 4 | Monitor floor coverings to ensure they do not lifts. Consider as part of a facility check. | Responsible person | Ongoing
VH/EX/02 | Working at height | Falls from any height can cause bruising and fractures. | Volunteers, Contractors | 1) Stable platforms available for personnel to store items on high shelves. 2) Appropriate step ladder available for use if necessary. 3) Step ladders and platforms are appropriate for each task. | 4 | 1 | 4 | Remove and dispose of small step ladders that have been brought in to the building by contractors. Volunteers to have some in house awareness training on the correct use of step ladders. | Responsible person | ongoing
VH/EX/03 | Fire | If trapped, users of facility could suffer fatal injuries from smoke inhalation and burns. | Volunteers, customers, public, contractors. | 1) A fire risk assessment has been completed, and fire safety measures are in place. This is reviewed on and annual basis 2)An evacuation plan has been developed and implemented. 3) The evacuation plan has been tested, fire drills are carried out twice a year. 4) Regular checks are carried out to ensure escape routes and fire exit doors are not obstructed. 5) The evacuation plan has been reviewed on an annual basis, and other emergencies considered in the crisis procedure. (see below). 6) Extra fire wardens obtained and all trained. 7) Fire safety checks/tests recorded. 8) Training on Fire panel carried out and staff trained in the use of the comms panel to the refuge areas as part of Induction. 9) Fire alarm testing carried out on weekly basis. | 5 | 1 | 5 | Fire Warden refresher training required in June 2017. Training in the use of the fire extinguishers for volunteers to be considered. Review RA on a regular basis. Record in log tests carried out. | Responsible person | ongoing
VH/EX/04 | Other Emergencies | Users could be seriously injured as part of other types of emergencies, this could include power failure, flooding, civil disorder, structural damage, Bomb/terrorist threat, adverse weather. | Customers, visitors, contractors, volunteers, public. | 1) A procedures plan is in place for dealing with other incidents. 2) Business continuity plan is in place in order to keep the organisation running following a major incident. 3) responsible persons designated as part of the plan. 4) Communication system in place to notify staff of an incident where appropriate. | 5 | 1 | 5 | Review BCP and update each departments plan for dealing with major incidents. Completed July 2017. | Responsible person | 2017-08-01
VH/EX/05 | Equipment | Users could get electrical shocks or burns from using faulty electrical equipment. Volunteers or users (children) may also suffer injury from moving parts of equipment or unbalanced equipment. | Customers, visitors, contractors, children | 1) Work equipment assessed before purchase as to suitability for task to be used for. 2) All new equipment checked before first use to ensure there are no faults and parts are secure. 3) Staff trained in use of equipment where necessary (use of manufacturers manual). 4) Facilities staff have had electrical awareness training and trained in testing electrical equipment. 5) All staff encouraged to report defects in equipment immediately. 6)Defective equipment taken out of use and either repaired or disposed of. | 5 | 1 | 5 | monitor | Responsible person | ongoing
VH/EX/06 | Cleaning | Users risk skin irritation or eye damage from direct contact with cleaning chemicals. Vapour from cleaning chemicals may cause breathing problems. | Volunteers, children. | 1) Cleaning contractor used for main cleaning in offices. 2) Cleaning products replaced with milder alternatives where available. 3) Mops, brushes and protective gloves are provided and used. 4) Staff shown how to use cleaning products safely. 5) Some cleaning carried out by ICANDO staff, following group visits. | 2 | 3 | 6 | 1)Review COSHH assessments for cleaning. 2)Ensure chemicals are kept in the correct (labeled) containers. Keep chemicals to a minimum if possible. | Responsible person | 2017-03-01
VH/EX/07 | Gas appliances | Customers could suffer fatality or ill health due to a poorly maintained gas appliance. | Customers, visitors. Children sleepovers. | Domestic type gas boiler heats water and radiators. Annual gas check carried out by Gas Safe registered engineer. 10 year Carbon monoxide detector located in each room where gas appliance located. Carbon monoxide alarm tested every week. | 5 | 1 | 5 | Keep at least 5 years records of gas certificates. Record when testing carbon monoxide tests | Responsible person | ongoing
VH/EX/08 | Asbestos | Users of property carrying out normal activities, are at low risk providing the ACM is maintained in good condition. Asbestos only poses a risk if it is disturbed and fibres are released into the air and inhaled. Contractors carrying out maintenance around the buildings are most at risk of disturbing asbestos. | Maintenance contract responsible person, customers (if damage asbestos) | Asbestos survey carried out by UKAS accredited contractor, and available in the property office. Management plan in place. Asbestos register in place. Contractors notified of location of asbestos. | 5 | 1 | 5 | Check regularly for damage, where it is in high risk areas. If undisturbed it is safe. If required to remove at any point in the future a specialist UKAS accredited company is requiired to be hired for the job. | Responsible person | ongoing
VH/EX/09 | Water systems (legionella) | Users of property could suffer from ill health due to poorly maintained water systems. Fatalities could occur were persons have higher susceptibility to infection. | Customers, volunteers, contractors, children | 1) Legionella survey carried out by UKAS competent contractor. 2) Management responsibilities detailed. 3) Logbook recording temperatures etc. as per plan. 4) Water samples taken from tanks every quarter to monitor condition of water. Descaling of shower heads every quarter. 5) Procedure for dealing with poor sample results. 6) Water treatment for mains water. 7) Cold water tanks cleaned on an annual basis. | 3 | 2 | 6 | As recommended by the survey | Responsible person | ongoing
VH/EX/10 | Sleep overs with groups of children as young as 5 years old. | Children may be hurt, due to unfamiliar surroundings, panic and slow to react to emergencies. Hazards already identified in this risk assessment. Children may become ill and have medical conditions/health issues. | Girlguide groups and leaders | 1) A strict ratio of group leaders to numbers of children, depending on age of children. 2) A safety briefing is carried out by the volunteer member at the start of the event, which involves the evacuation procedure, evacuation routes, assembly points, and use of the alarm breakpoints if required. 3)Group leader is responsible for the welfare of the children 4)Emergency plan in place, evacuation procedure detailed earlier in this document. 5) The fire alarm is in place to ensure a quick evacuation, group leader to contact the fire brigade. 6) Health forms completed for each event, in case a child becomes ill. | 5 | 1 | 5 | Monitor | Responsible person | Ongoing